## Slide 1: Some highlights of MIPS measurements during the PECAN field campaign Kevin Knupp University of Alabama in Huntsville

## Slide 2: Research foci
Comparison of instruments to better understand differences in measurements of:
  Horizontal wind (LLJ cases are most ideal)
    915 MHz wind profiler, DWL, MAX radar, radiosonde, King Air
  Vertical velocity, w (high amplitude w events in clear air (bores, density current)
    DWL, 915, X-band profiling radar (XPR)
Bore science (collaboration)
CI (AET) case study (Brianna Lund poster)
Propagation of nocturnal MCS (bore vs. density current)

## Slide 3
Mobile Integrated Profiling System (MIPS) – PECAN
MIPS-2
MIPS-2
MIPS-1
MIPS-1
10-m tower
CL51 ceilometer
915 MHz wind profiler
X-band profiling radar (XPR)
Microwave profiling radiometer
(MPR)
soundings
Doppler wind lidar (DWL)
PECAN deployment
Doppler wind lidar (DWL)

## Slide 4: IOP 2 (6/3): LLJ cases, motivation and goals
Comparison of Vh measurements from:
  MIPS 915 MHz wind profiler (915)
  Doppler Wind Lidar (DWL)
  MAX (located 3 km NNE)
  Balloon soundings (in situ)
  King Air (in situ)
Objective: Determine relative accuracy of wind measurements within the NBL by radar
  Are insects (and other biological flyers) passive tracers?
  Do radar measurements accurately represent air motion within the NBL

## Slide 5
915 MHz wind profiler SNR and spectrum width (SW), 00-06 UTC:
SNR vertical gradient near 400 m AGL
Increasing SW with time, maximum near 450 m AGL

## Slide 6
Time vs. height section of 915 conensus (30 min) winds

## Slide 7
Chart: 
| 0.0 | 30.0 | 60.0 | 90.0 | 120.0 | 150.0 | 180.0 | 210.0 | 240.0 | 270.0 | 300.0 | 330.0 | 360.0 | 390.0 | 420.0 | 450.0 | 480.0 | 510.0 | 540.0 | 570.0 | 600.0 | 630.0 | 660.0 | 690.0 | 720.0 | 750.0 | 780.0 | 810.0 | 840.0 | 870.0 | 900.0 | 930.0 | 960.0 | 990.0
 | 16.1 | 16.4 | 17.4 | 19.1 | 19.7 | 21.8 | 22.3 | 22.8 | 23.4 | 23.8 | 24.4 | 24.9 | 25.3 | 25.5 | 25.3 | 24.9 | 24.6 | 24.7 | 24.8 | 24.8 | 25 | 24.5 | 23.9 | 23.8 | 23.4 | 22.6 | 22.4 | 22.2
Chart: 
| 0.0 | 30.0 | 60.0 | 90.0 | 120.0 | 150.0 | 180.0 | 210.0 | 240.0 | 270.0 | 300.0 | 330.0 | 360.0 | 390.0 | 420.0 | 450.0 | 480.0 | 510.0 | 540.0 | 570.0 | 600.0 | 630.0 | 660.0 | 690.0 | 720.0 | 750.0 | 780.0 | 810.0 | 840.0 | 870.0 | 900.0 | 930.0 | 960.0 | 990.0
 | 21.0523 | 22.6559 | 24.3614 | 25.5635 | 25.9031 | 25.3126 | 24.6457 | 23.6123 | 22.5009 | 21.4394 | 20.4707 | 19.7122 | 19.1039 | 18.3469
Wind speed (Vh) profile: DWL (red) vs. 915 (blue)
DWL (0445 UTC)
(profiler mode, Elev = 45°)
915 (0430-0500)
Height (m AGL)
Wind speed (m/s)
915 Vh 3-5 m/s greater below 500 m
915 Vh 2-4 m/s less above 600 m
Possible explanation:
  Insects
  Error in calculation
  Difference in sampling volume
DWL consecutive profiles were quite consistent.

## Slide 8
MAX PPI scans at 2.0°, 0530-0555 UTC
VR
rhv
Ze
ZDR

## Slide 9: Future work (IOP 2)
Compare 915 and DWL for the entire IOP
VAD analysis of MAX data (MAX was 3 km NNE of MIPS
Comparison with radiosondes from MIPS
Comparison with King Air flight level data

## Slide 10: UFO 1 (6/7): Bore
High amplitude bore originated from high-based convection over NW KS and generated an eastward moving bore
MIPS measurements: DWL, 915, XPR and before/after soundings at 0437 (14 min before bore passage at 0451) and 0522 UTC (after vertical motion subsided)
Deep layer lifting indicated by the soundings

## Slide 11
Ceilometer overview of bore initial and secondary updrafts
(0452 and 0500 UTC)
2 hr

## Slide 12
Comparison of w from DWL and 915:
DWL
915
Difference
915 underestimates w (for this and other cases)
Difference: 915 - DWL
915
DWL

## Slide 13
Deep layer lifting is clear shown in T inversion and Td minimum above 500 mb
0437 – blue
0522 - red
Ascent of 300-400 m
Cooling and moistening below 750 mb
But very little change in T/Td at with the 750-550 mb layer
~800 m lift implied
Complex pattern of vertical displacements

## Slide 14: UFO 6 (6/20): AET CI
MIPS sampled passage of cold front accompanied by sustained upward motion associated with CI
Refer to poster by Brianna Lund
w (DWL)
SNR (DWL)
Sustained w’2 into
the NBL cycle
clouds

## Slide 15: IOP 13 (6/22) LLJ
LLJ with embedded wave activity
Surface winds increased during the nocturnal cycle at the MP2 site (western most)
LLJ induced wind storm produced surface winds perhaps exceeding 20 m/s (close to severe storm) around 1030 Z near Wakeeney and to the east

## Slide 16
915 MHz wind profiler
SNR
Increase at low levels early on (insects)
Presence of backscatter above the residual layer
SW
Increase in SW below 1 km

## Slide 17
Soundings to 500 mb

## Slide 18
Doppler Wind Lidar (0030-0930)
Doppler Wind Lidar (0700-0800)
Doppler Wind Lidar (0800-0900)

## Slide 19: IOP 25 (7/11): Bore in N KS (Phillipsburg)
Undular bore, 2 primary waves: first developed no clouds, the second had a well defined cloud field which persisted after bore passage
W (DWL)
SNR (DWL)

## Slide 20
Long time series from MIPS
Ceilometer backscatter
DWL (w, top; and SNR, bottom)
915 SNR
915 W
a
b
c
d

## Slide 22: IOP 30 (7/15): Gust front / bore hybrid at McCook
Passage at 0415 UTC
Narrow, deep updraft (~2 min duration, 2 km deep), maximum of 12 m s-1
Turbulent region behind front
Secondary ascent after 0423 UTC
Continuous initiation of shallow precipitating convection occurred behind the front (bore-like behavior)
Raw DWL w at 1 Hz sampling

## Slide 23
Comparison of DWL and XPR:
DWL w estimates are greater, difference exceeds 3 m s-1 over a deep layer
Updraft shape and relative variations are similar
DWL w not affected by light rain
Note that the velocity scale differs

## Slide 24: IOP 20 (7/6): MCS in SE SD
Participation as a collaborator
Two interesting events:
CI over MIPS
Passage of solitary wave (within the trailing stratiform region) over MIPS

## Slide 25
Convective Initiation Over MIPS During IOP 20
Elevated ascent in region of weak Ze
MIPS XPR – Reflectivity factor
MIPS XPR – Vertical Velocity

## Slide 26
Convective Initiation Over MIPS During IOP 20
MIPS Location
N
MIPS XPR - Reflectivity
MIPS XPR – Vertical Velocity
Note elevated ascent in region of weak reflectivity
50 km

## Slide 27
Solitary Wave Passage Over MIPS During IOP 20
MIPS Location
N
UAH MIPS XPR - Reflectivity
UAH MIPS XPR – Vertical Velocity
50 km

## Slide 28: IOP 21 (7/9): QLCS in TX panhandle