## Slide 1: EOL Data at PECAN Tammy M. Weckwerth, Mike Dixon, Bill Brown, Scott Spuler and Bob Rilling NCAR/EOL
PECAN Science Meeting, 19 September 2016
S-Pol
4 ISS (FP-3, FP-4, FP-5, MISS)
Water Vapor DIAL
Regional 3-D radar mosaic
Scott Ellis giving S-Pol tour
Tim Lim doing MGAUS outreach
WV DIAL at FP3

## Slide 2: S-Pol Data
  S-Pol ops
    Up 28 May-4 June
    Down 4-7 June
    7-9 June intermittent ops
    Down 9-12 June
    Up 12 June-16 July 2015
  Corrected for low noise power, clutter, reflectivity bias, Zdr bias based on temperature
  Multiple fields in data archive, including Z, V, SW, NCP, ZDR, LDR, RhoHV, PhiDP, PID, rain rates, AIQ, NIQ, CPA, CMD
  S-Pol User’s Guide: https://www.eol.ucar.edu/content/s-pol-users-guide-pecan
  S-Pol quick look images: field catalog or https://www.eol.ucar.edu/rsf/image_archive/pecan/spol/
    Show 16 July 00-10 UTC
Photo by Scott Ellis (NCAR)

## Slide 3: ISS Data
  FP-3 (Ellis, KS): 449 MHz wind profiler + sfc met + GPS
  FP-4 (Minden, NE): 915 MHz wind profiler + soundings + sfc met with fluxes + ceilometer + GPS
  FP-5 (Brewster, KS): 915 MHz wind profiler + soundings + sfc met with fluxes + GPS
  MISS: 915 MHz wind profiler + soundings + sfc met
  All data in PECAN data archive except GPS: http://www.suominet.ucar.edu/data.html
  EOL/ISS: https://www.eol.ucar.edu/content/pecan-iss
    Show summary plots

## Slide 4: UFO 1: Bore
Generated by convection in western KS. Wave vert vel up to 5 m/s with gusts up to 45 m/s and rotating winds aloft.
Courtesy Bill Brown (NCAR)

## Slide 5: Water Vapor DIAL
5 min/150 m resolution
Relative backscatter (0-12 km) and absolute humidity (0-6 km)
Unattended and operational 99% during PECAN!
DIAL at PECAN
DIAL now

## Slide 6: Water Vapor DIAL on 21 June
Numerous aerosol layers
Large-scale wave motions
Nocturnal BL
CBL growth
Paper showing validation of water vapor data by comparing with soundings, AERI, MWRP and GPS receivers (Weckwerth, Weber, Turner, Spuler, 2016 JTECH in press)

## Slide 7: Radar Mosaics from EOL
19 NEXRADs + S-Pol
3-D gridded mosaic
Δx= Δy= Δz=250-500 m
Z, V, SW, ZDR, Rho_hv, PID, and QPE fields (rain rates + various accumulations)

## Slide 8: EOL Instruments
    S-Pol
    https://www.eol.ucar.edu/content/s-pol-users-guide-pecan
  ISS
    https://www.eol.ucar.edu/content/pecan-iss
  WV-DIAL
    https://www.eol.ucar.edu/instruments/wvdial

## Slide 9: Bore and CI from S-Pol
S-Pol reflectivity 0130-0530 UTC, every 10 min
Bore initiates new convection at 0323 UTC

## Slide 10: Bore Observed by 449 MHz Profiler
Continuous wind profiles
Data to >3 km; often to 5 km
LLJ and wave structures

## Slide 11: Low Level Jet
Modular Profiler often saw persistent updrafts during LLJ.
May be upslope flow, although not clearly correlated with speed, perhaps orographic wave

## Slide 12: IOP31 MCS
Cell passed over with strong updraft ~10m/s and 40 m/s gusts.
Strong Updraft
Gusts
Courtesy Bill Brown (NCAR)

## Slide 13: Issues : technical
Ellis KS (FP3):
Modular Profiler - RASS lock-ups
Surface winds - occasionally striated
Minden NE (FP4):
Air Conditioner
Brewster (FP5):
Unsteady power - brown-out and failure
Data manager computer - power issue
915 MHz Profiler - dropout
Sodar - failed
Solar Radiation - dropout reset
Surface wind directions
MISS & MGAUS (MP4):
Trailer lights failure
Generator failure
Equipment overheating

## Slide 14: Bore Generation Captured by S-Pol
S-Pol radial velocity 0130-0530 UTC on 26 June 2015, every 10 min
What causes bore initiation?
Apparently changes orientation